## AAC24B18R
No. | Part Name | Quantity | BOM code | Remark
1 | Cover net | 1 | 802925490001
2 | Outdoor motor | 1 | 802400400766
3 | Axial-flow fan | 1 | 802925490002
4 | Top cover assembly | 1 | 801225490037
5 | Support board | 3 | 801224290030
6 | Cooling pipe components of refrigerant | 1 | 801632890138
7 | Top panel | 1 | 801239090251
8 | Compressor | 1 | 801401400168 | ATM240D57UFT
9 | Chassis assembly | 1 | 801225490186
10 | Left side panel | 1 | 801239090252
11 | Piping components | 1 | /
11.1 | High pressure valve welding assembly | 1 | 801639090321
11.1.1 | High pressure valve connecting pipe | 1 | 801639090322
11.1.2 | Square valve | 1 | 801600900069
11.2 | Low pressure valve welding components | 1 | 801633490323
11.2.2 | Square valve | 1 | 801600900072
11.3 | High pressure sensor | 1 | 802339090007
12 | Radiator cover plate | 1 | 802939090003
13 | Electronic components | 1 | 803332890033
13.1 | Terminal block | 1 | 802401800129
13.2 | Outdoor display board assembly | 1 | 803300700113
13.3 | Outdoor inverter integrated board | 1 | 801319900017
13.4 | Reactor | 1 | 802300300043
13.5 | Fan motor capacitor | 1 | 802401100094
13.6 | Electric control mounting plate weldment | 1 | 801239090253
13.7 | Mounting base of mainboard | 1 | 801139090003
13.8 | Mounting base of communication board | 1 | 801139090004
13.9 | Terminal block mounting plate | 1 | 801239090254
14 | Reactor installation cover | 1 | 801239090330
15 | Condenser components | 1 | 801533490084

## AAH24B18R
No. | Part Name | Quantity | BOM code | Remark
1 | Filter Cover plate | 1 | 801233590166
2 | Water pan components | 1 | 801239390073
2.1 | Water pan# 1 | 1 | 801134590002
2.2 | Water pan# 2 | 1 | 800734590102
2.3 | Water pan fixed block | 1 | 801234590091
2.4 | Water pan brace | 2 | 801234190193
3.1 | Air header Assembly | 1 | 801633590039
3.2 | Diverter Assembly | 1 | 801633590041
3.3 | TXV | 1 | 801600400099
3.4 | Connecting pipe | 1 | 801633590042
3.5 | Evaporator | 2 | 801533590038
3.6 | Evaporator Baffle | 1 | 801239390040
3.7 | Evaporator baffle welded assembly | 1 | 801233590156
3.8 | Evaporator Water Baffle #1 | 2 | 801234590095
3.9 | Evaporator Water Baffle #2 | 1 | 801234590096
3.10 | Evaporator Water Baffle #3 | 1 | 801234590097
3.11 | Evaporator Fixing Plate #1 | 1 | 801233590141
3.12 | Evaporator Fixing Plate #2 | 1 | 801233590144
3.13 | Evaporator Junction Plate | 1 | 801233590142
4 | Chasiss assembly | 1 | 801233590133
5 | Supporter | 2 | 801234590090
6.1 | Right Volute Wind Wheel | 1 | 801200200040
6.2 | Indoor Motor | 1 | 802400400761 | DZJ-249F-12
7 | Fan Motor Fixing plate assembly | 1 | 801239390034
7.1 | Fan Motor Fixing plate | 1 | 801239390092
7.2 | Wind Wheel Fixed Block | 2 | 801234590106
7.3 | Fixed plate on air duct | 1 | 801239390091
7.4 | Stator | 2 | 801239390036
7.5 | Air duct left stationary plate | 1 | 801239390025
7.6 | Air duct right stationary plate | 1 | 801239390026
8 | Electric control cover assembly | 1 | 801233590139
9 | ELectronic Control Components | 1 | 803339390019
9.1 | ELectronic Control Mounting Plate | 1 | 801234590202
9.2 | Main Board | 1 | 803339390018
9.3 | Transformer | 1 | 802300200087
10 | Water pan supporter assembly | 4 | 801233590165
11 | Upper side plate assembly | 1 | 801233590135
12 | Pipe Cover plate assembly | 1 | 801234590081
13 | Lower side plate assembly | 1 | 801233590137

## AAC36B18R
No. | Part Name | Quantity | BOM code | Remark
1 | Cover net | 1 | 802925490001
2 | Outdoor motor | 1 | 802400400766
3 | Axial-flow fan | 1 | 802925490002
4 | Top cover assembly | 1 | 801225490037
5 | Support board | 3 | 801224290030
6 | Rear side panel | 1 | 801224290063
7 | Left side panel | 1 | 801224290067
8 | Cooling pipe components of refrigerant | 1 | 801632890138
9 | Top panel | 1 | 801239090251
10 | Compressor | 1 | 801401400168
11 | Chassis assembly | 1 | 801225490186
12 | Left side panel | 1 | 801239090252
13 | Piping components | 1 | /
13.1 | High pressure valve welding assembly | 1 | 801639090321
13.1.1 | High pressure valve connecting pipe | 1 | 801639090322
13.2 | Square valve | 1 | 801600900069
13.3 | Pressure Switch | 1 | 802300900041
13.3.1 | L-shaped tube | 1 | 801602500081
13.3.2 | Square valve | 1 | 801600900072
13.4 | Pressure sensor | 1 | 802339090007
14 | Radiator cover | 1 | 802939090003
15 | Electronic components | 1 | 803333490053
15.1 | Outdoor display board assembly | 1 | 803300700113
15.2 | Reactor | 1 | 802300300043
15.3 | Fan motor capacitance | 1 | 802401100094
15.4 | Electronically controlled mounting plate assy | 1 | 801239090253
15.5 | Reactor mount | 1 | 801239090259
15.6 | Main control board mounting base | 1 | 801139090003
15.7 | Communication board mounting base | 1 | 801139090004
15.8 | Terminal block mounting plate | 1 | 801239090254
15.9 | Terminal block | 1 | 802401800129
15.10 | Outdoor inverter integrated board | 1 | 801319900018
16 | Reactor mounting cover | 1 | 801239090330
17 | Condenser parts | 1 | 801533490084
17.1 | Condenser assembly | 1 | 801533490088
17.2 | Condenser input pipe assembly | 1 | 801633490290
17.3 | Condenser output pipe assembly | 1 | 801633490289
18 | Right side panel | 1 | 801224290065

## AAH36B18R
No. | Part Name | Quantity | BOM code | Remark
1 | Filter Cover plate | 1 | 801233590166
2 | Water pan components | 1 | 801233590165
2.1 | Water pan# 1 | 1 | 801134590002
2.2 | Water pan# 2 | 1 | 800734590102
2.3 | Water pan fixed block | 1 | 801234590091
2.4 | Water pan brace | 2 | 801234190193
3.1 | Air header Assembly | 1 | 801633590039
3.2 | Diverter Assembly | 1 | 801633590041
3.3 | TXV | 1 | 801600400099 | TR6-3TON
3.4 | Connecting pipe | 1 | 801633590042
3.5 | Evaporator | 2 | 801533590038
3.6 | Evaporator Baffle | 1 | 801239390040
3.7 | Evaporator baffle welded assembly | 1 | 801233590156
3.8 | Evaporator Water Baffle #1 | 2 | 801234590095
3.9 | Evaporator Water Baffle #2 | 1 | 801234590096
3.10 | Evaporator Water Baffle #3 | 1 | 801234590097
3.11 | Evaporator Fixing Plate #1 | 1 | 801233590141
3.12 | Evaporator Fixing Plate #2 | 1 | 801233590144
3.13 | Evaporator Junction Plate | 1 | 801233590142
4 | Chasiss assembly | 1 | 801233590133
5 | Supporter | 2 | 801234590090
6.1 | Right Volute Wind Wheel | 1 | 801200200040
6.2 | Indoor Motor | 1 | 802400400762 | DZJ-373F-12
7 | Fan Motor Fixing plate assembly | 1 | 801239390034
7.1 | Fan Motor Fixing plate | 1 | 801239390092
7.2 | Wind Wheel Fixed Block | 2 | 801234590106
7.3 | Fixed plate on air duct | 1 | 801239390091
7.4 | Stator | 2 | 801239390036
7.5 | air duct left stationary plate | 1 | 801239390025
7.6 | air duct right stationary plate | 1 | 801239390026
8 |  | 1 | 801233590139
9 | ELectronic Control Components | 1 | 803339390019
9.1 | ELectronic Control Mounting Plate | 1 | 801234590202
9.2 | Main Board | 1 | 803339390018
9.3 | Transformer | 1 | 802300200087
10 | Water pan supporter assembly | 4 | 801233590167
11 | Upper side plate assembly | 1 | 801233590135
12 | Pipe Cover plate assembly | 1 | 801234590081
13 | Lower side plate assembly | 1 | 801233590137

## AAC48B18R
No. | Part Name | Quantity | Sale code | BOM code | Remark
1 | Cover net | 1 |  | 802925490001
2 | Outdoor motor | 1 |  | 802400300077
3 | Axial-flow fan | 1 |  | 801200200055
4 | Support board | 3 |  | 801225490047
5 | Left side panel | 1 |  | 801225490051
6 | Rear side panel | 2 |  | 801225490039
7 | Condenser assembly | 1 |  | 801534490091
7.1 | Condenser | 1 |  | 801534490094
7.2 | Condenser input pipe assembly | 1 |  | 801634490195
7.3 | Condenser output pipe assembly | 1 |  | 801634490196
8 | Refrigerant heat pipe fixing seat | 2 |  | 801139090002
9 | Top panel | 1 |  | 801239090255
10 | Compressor | 1 |  | 801400900053
11 | Chassis assembly | 1 |  | 801225490186
12 | Left side panel | 1 |  | 801239090252
13 | Radiator cover | 1 |  | 802939090003
14 | Electronic components | 1 |  | 803334090040
14.1 | Main control board mounting base | 1 |  | 801139090003
14.2 | Outdoor display board assembly | 1 |  | 803300700113
14.3 | Terminal block | 1 |  | 802401800129
14.4 | English main power label | 1 |  | 802042090209
14.5 | Reactor | 1 |  | 802300300055
14.6 | Electronically controlled mounting plate assy | 1 |  | 801239090306
14.7 | Communication board mounting base | 1 |  | 801139090004
14.8 | Terminal block mounting plate | 1 |  | 801239090254
14.9 | Outdoor inverter integrated board | 1 |  | 801319900019
15 | Piping components | 1 |  | /
15.1 | Pressure Switch | 1 |  | 802300900041
15.2 | Square valve | 1 |  | 801600900101
15.3 | Pressure sensor | 1 |  | 802339090007
15.4 | High pressure valve welding assembly | 1 |  | 801639090321
16 | Cooling pipe components of refrigerant | 1 |  | 801639090317
17 | Right side panel | 1 |  | 801225490045
18 | Top cover assembly | 1 |  | 800725490036

## AAH48B18R
No. | Part Name | Quantity | BOM code | Remark
1 | Filter Cover plate | 1 | 801239390088
2 | Water pan components | 1 | 801239390082
2.1 | Water pan# 1 | 1 | 801139390001
2.2 | Water pan# 2 | 1 | 801239390029
2.3 | Water pan fixed block | 1 | 801234590091
2.4 | Water pan brace | 2 | 801234190193
3.1 | Air header Assembly | 1 | 801634590028
3.2 | Diverter Assembly | 1 | 801634590027
3.3 | TXV | 1 | 801600400101 | TR6-5TON
3.4 | Evaporator A | 1 | 801534590028
3.5 | Evaporator B | 1 | 801534590029
3.6 | Evaporator C | 1 | 801534590030
3.7 | Evaporator D | 1 | 801534590031
3.8 | Evaporator Baffle | 1 | 801239390052
3.9 | Evaporator Water Baffle #1 | 2 | 801234590095
3.10 | Evaporator Water Baffle #2 | 1 | 801234590096
3.11 | Evaporator Water Baffle #3 | 1 | 801234590097
3.12 | Evaporator Fixing Plate #1 | 1 | 801239390053
3.13 | Evaporator Fixing Plate #2 | 1 | 801239390056
3.14 | Evaporator Junction Plate | 1 | 801239390054
3.15 | Evaporator Baffl eweld assembly | 1 | 801234190200
4 | Chasiss assembly | 1 | 801239390045
5 | Supporter | 2 | 801239390051
6.1 | Right Volute Wind Wheel | 1 | 801200200040
6.2 | Indoor Motor | 1 | 802400400763 | DZJ-560F-12
7 | Fan Motor Fixing plate assembly | 1 | 801239390057
7.1 | Fan Motor Fixing plate | 1 | 801239390089
7.2 | Wind Wheel Fixed Block | 2 | 801234590106
7.3 | Fixed plate on air duct | 1 | 801239390090
7.4 | Stator | 2 | 801239390036
7.5 | air duct left stationary plate | 1 | 801239390023
7.6 | air duct right stationary plate | 1 | 801239390024
8 |  | 1 | 801239390060
9 | ELectronic Control Components | 1 | 803339390019
9.1 | ELectronic Control Mounting Plate | 1 | 801234590202
9.2 | Main Board | 1 | 803339390018
9.3 | Transformer | 1 | 802300200087
10 | Water pan supporter assembly | 4 | 801239390083
11 | Upper side plate assembly | 1 | 801239390046
12 | Pipe Cover plate assembly | 1 | 801234590081
13 | Lower side plate assembly | 1 | 801239390048

## AAC60B18R
No. | Part Name | Quantity | BOM code | Remark
1 | Cover net | 1 | 802925490001
2 | Outdoor motor | 1 | 802400300077
3 | Axial-flow fan | 1 | 801200200055
4 | Support board | 3 | 801225490047
5 | Left side panel | 1 | 801225490051
6 | Rear side panel | 2 | 801225490039
7 | Condenser assembly | 1 | 801534490094
7.1 | Condenser | 1 | 801534090022
7.2 | Condenser input pipe assembly | 1 | 801634490195
7.3 | Condenser output pipe assembly | 1 | 801634490196
8 | Refrigerant heat pipe fixing seat | 2 | 801139090002
9 | Top panel | 1 | 801239090255
10 | Compressor | 1 | 801400900053
11 | Chassis assembly | 1 | 801225490186
12 | Left side panel | 1 | 801239090252
13 | Radiator cover | 1 | 802939090003
14 | Electronic components | 1 | 803334490039
14.1 | Main control board mounting base | 1 | 801139090003
14.2 | Outdoor display board assembly | 1 | 803300700113
14.3 | Terminal block | 1 | 802401800129
14.4 | Outdoor inverter integrated board | 1 | 801319900020
14.5 | Reactor | 1 | 802300300055
14.6 | Electronically controlled mounting plate | 1 | 801239090256
14.7 | Terminal block mounting plate | 1 | 801239090254
14.8 | Communication board mounting base | 1 | 801139090004
15 | Piping components | 1 | /
15.1 | Pressure Switch | 1 | 802300900041
15.2 | Square valve | 1 | 801600900101
15.3 | Pressure sensor | 1 | 802339090007
15.4 | High pressure valve welding assembly | 1 | 801639090321
16 | Cooling pipe components of refrigerant | 1 | 801639090317
17 | Right side panel | 1 | 801225490045
18 | Top cover assembly | 1 | 800725490036

## AAH60B18R
广东志高暖通设备股份有限公司
产 品 爆 炸 图
产品名称：美式风管机
市场型号：CAHi–60CNVR1-18
电源规格：1N 208V-230V~60HZ
产品编码：821039300058
产品代号：UL1-KF160V-BPAX-FMD(J0)
项目描述：北美18SEER美式风管机
| No. | 中文 | Part Name | Quantity | Sale code | BOM code | Remark
| 1 | 滤尘网盖板 | Filter Cover plate | 1 |  | 801239390088
| 2 | 接水盘组件 | Water pan components | 1 |  | 801239390082
| 2.1 | 接水盘1 | Water pan# 1 | 1 |  | 801139390001
| 2.2 | 接水盘2 | Water pan# 2 | 1 |  | 801239390029
| 2.3 | 接水盘固定块 | Water pan fixed block | 1 |  | 801234590091
| 2.4 | 接水盘拉条 | Water pan brace | 2 |  | 801234190193
| 3.1 | 集气管组件 | Air header Assembly | 1 |  | 801634590028
| 3.2 | 分流组件 | Diverter Assembly | 1 |  | 801634590027
| 3.3 | 热力膨胀阀 | TXV | 1 |  | 801600400101 | TR6-5TON
| 3.4 | 蒸发器A | Evaporator A | 1 |  | 801534590028
| 3.5 | 蒸发器B | Evaporator B | 1 |  | 801534590029
| 3.6 | 蒸发器C | Evaporator C | 1 |  | 801534590030
| 3.7 | 蒸发器D | Evaporator D | 1 |  | 801534590031
| 3.8 | 蒸发器挡板 | Evaporator Baffle | 1 |  | 801239390052
| 3.9 | 蒸发器挡水板1 | Evaporator Water Baffle #1 | 2 |  | 801234590095
| 3.10 | 蒸发器挡水板2 | Evaporator Water Baffle #2 | 1 |  | 801234590096
| 3.11 | 蒸发器挡水板3 | Evaporator Water Baffle #3 | 1 |  | 801234590097
| 3.12 | 蒸发器固定板1 | Evaporator Fixing Plate #1 | 1 |  | 801239390053
| 3.13 | 蒸发器固定板2 | Evaporator Fixing Plate #2 | 1 |  | 801239390056
| 3.14 | 蒸发器连接板组件 | Evaporator Junction Plate | 1 |  | 801239390054
| 3.15 | 蒸发器挡板焊接组件 | Evaporator Baffl eweld assembly | 1 |  | 801234190200
| 4 | 底盘组件 | Chasiss assembly | 1 |  | 801239390045
| 5 | 支撑条 | Supporter | 2 |  | 801239390051
| 6.1 | 风轮涡壳(右式) | Right Volute Wind Wheel | 1 |  | 801200200040
| 6.2 | 单轴室内电机 | Indoor Motor | 1 |  | 802400400763 | DZJ-560F-12
| 7 | 风机固定板组件 | Fan Motor Fixing plate assembly | 1 |  | 801239390057
| 7.1 | 风机固定板 | Fan Motor Fixing plate | 1 |  | 801239390089
| 7.2 | 风轮固定块 | Wind Wheel Fixed Block | 2 |  | 801234590106
| 7.3 | 风道上固定板 | Fixed plate on air duct | 1 |  | 801239390090
| 7.4 | 固定块 | Stator | 2 |  | 801239390036
| 7.5 | 风道左固定块 | air duct left stationary plate | 1 |  | 801239390023
| 7.6 | 风道右固定块 | air duct right stationary plate | 1 |  | 801239390024
| 8 | 电控盖板贴棉组件 |  | 1 |  | 801239390060
| 9 | 电控部件 | ELectronic Control Components | 1 |  | 803339390019
| 9.1 | 电控安装板 | ELectronic Control Mounting Plate | 1 |  | 801234590202
| 9.2 | 室内电控板组件 | Main Board | 1 |  | 803339390018
| 9.3 | 变压器 | Transformer | 1 |  | 802300200087
| 10 | 接水盘支撑组件 | Water pan supporter assembly | 4 |  | 801239390083
| 11 | 上侧板组件 | Upper side plate assembly | 1 |  | 801239390046
| 12 | 配管盖板组件 | Pipe Cover plate assembly | 1 |  | 801234590081
| 13 | 下侧板组件 | Lower side plate assembly | 1 |  | 801239390048