## AHU 18k
Exploded View
| Product: | 15 SEER Air Handler
| Model: | BAH18B15S2T5
| Power Supply: | 208/230V/1PH/60Hz
|  |  | No. |  | Part Name | Quantity | BOM Code | Remark
|  |  | 1 |  | Base pan cotton sticking assembly | 1 | 91043684 | The1.1、1.2、1.3 marked in red are supporting materials and need to be charged separately. You need to purchase the 1.1、1.2、1.3 together with the base pan cotton sticking assembly.
|  |  |  | 1.1 | Chassis side plate thermal insulation cotton | 2 | 91043385
|  |  |  | 1.2 | Chassis floor thermal insulation cotton | 1 | 91043384
|  |  |  | 1.3 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 2 |  | Drain pan support plate cotton sticking assembly | 4 | 91043685
|  |  | 3 |  | Wind wheel fixing plate | 1 | 91058442
|  |  | 4 |  | Left side plate of air duct | 1 | 91043688
|  |  | 5 |  | Right side plate of air duct | 1 | 91043689
|  |  | 6 |  | Electric heater sealing plate | 2 | 91043691
|  |  | 7 |  | Front side panel of air duct | 1 | 91043687
|  |  | 8 |  | Wind wheel mounting block | 2 | 91043690
|  |  | 9 |  | Motor fixing beam assembly | 3 | 91043693
|  |  | 10 |  | Motor clamp | 1 | 91043692
|  |  | 11 |  | Fan motor | 1 | 91073089
|  |  | 12 |  | Wind wheel volute | 1 | 91038107
|  |  | 13 |  | Evaporator preinstalled assembly (with drain pan) | 1 | 91078052
|  |  |  | 13.1 | Evaporator prewelding assembly (without drain pan) | 1 | 91095220
|  |  |  | 13.2 | Sheet metal drain pan cotton sticking assembly | 1 | 91043695
|  |  |  | 13.3 | Connecting plate | 2 | 91043717
|  |  |  | 13.4 | Plastic drain pan cotton sticking assembly | 1 | 91043694
|  |  |  | 13.5 | Refrigerant leak detection sensor | 1 | 91095157
|  |  | 14 |  | Brass terminal | 1 | 91043061
|  |  | 15 |  | PCB | 1 | 91065004
|  |  | 16 |  | Electric control mounting plate | 1 | 91043708
|  |  | 17 |  | Transformer | 1 | 91041237
|  |  | 18 |  | Piping cover cotton sticking assembly | 1 | 91043705
|  |  | 19 |  | Drain pan fixing block | 1 | 91043711
|  |  | 20 |  | Support bar | 2 | 91043709
|  |  | 21 |  | Circuit breaker sealing plate | 1 | 91043707 | The21.1、21.2、21.3、21.4、21.5 marked in red are supporting materials and need to be charged separately. You need to purchase the21.1、21.2、21.3、21.4、21.5 together with the circuit breaker sealing plate.
|  |  |  | 21.1 | Electric control box cover plate thermal insulation cotton | 1 | 91043386
|  |  |  | 21.2 | Aluminum nail | 4 | 91046954
|  |  |  | 21.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 21.4 | Aluminum foil | 4 | 91050517
|  |  |  | 21.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 22 |  | Circuit breaker sealing plate | 1 | 91044424
|  |  | 23 |  | Upper side plate cotton sticking assembly | 1 | 91043706 | The23.1、23.2、23.3、23.4、23.5marked in red are supporting materials and need to be charged separately. You need to purchase the23.1、23.2、23.3、23.4、23.5 together with the upper side plate cotton sticking assembl.
|  |  |  | 23.1 | Upper side plate thermal insulation foam | 1 | 91043387
|  |  |  | 23.2 | Aluminum nail | 4 | 91046954
|  |  |  | 23.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 23.4 | Aluminum foil | 4 | 91050517
|  |  |  | 23.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 24 |  | Lower side plate cotton sticking assembly | 1 | 91043704 | The24.1、24.2、24.3、24.4、24.5 marked in red are supporting materials and need to be charged separately. You need to purchase the24.1、24.2、24.3、24.4、 24.5 together with the lower side plate cotton sticking assembly.
|  |  |  | 24.1 | Lower side panel thermal insulation foam | 1 | 91043388
|  |  |  | 24.2 | Aluminum nail | 4 | 91046954
|  |  |  | 24.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 24.4 | Aluminum foil | 4 | 91050517
|  |  |  | 24.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 25 |  | Filter cover | 1 | 91043710
13
13.1
13.3
13.2
13.4
13.5

## AHU 24k
Exploded View
| Product: | 15 SEER Air Handler
| Model: | BAH24B15S2T5
| Power Supply: | 208/230V/1PH/60Hz
|  |  | No. |  | Part Name | Quantity | BOM Code | Remark
|  |  | 1 |  | Base pan cotton sticking assembly | 1 | 91043684 | The1.1、1.2、1.3 marked in red are supporting materials and need to be charged separately. You need to purchase the 1.1、1.2、1.3 together with the base pan cotton sticking assembly.
|  |  |  | 1.1 | Chassis side plate thermal insulation cotton | 2 | 91043385
|  |  |  | 1.2 | Chassis floor thermal insulation cotton | 1 | 91043384
|  |  |  | 1.3 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 2 |  | Drain pan support plate cotton sticking assembly | 4 | 91043685
|  |  | 3 |  | Wind wheel fixing plate | 1 | 91058442
|  |  | 4 |  | Left side plate of air duct | 1 | 91043688
|  |  | 5 |  | Right side plate of air duct | 1 | 91043689
|  |  | 6 |  | Electric heater sealing plate | 2 | 91043691
|  |  | 7 |  | Front side panel of air duct | 1 | 91043687
|  |  | 8 |  | Wind wheel mounting block | 2 | 91043690
|  |  | 9 |  | Motor fixing beam assembly | 3 | 91043693
|  |  | 10 |  | Motor clamp | 1 | 91043692
|  |  | 11 |  | Fan motor | 1 | 91073090
|  |  | 12 |  | Wind wheel volute | 1 | 91038107
|  |  | 13 |  | Evaporator preinstalled assembly (with drain pan) | 1 | 91078939
|  |  |  | 13.1 | Evaporator prewelding assembly (without drain pan) | 1 | 91078947
|  |  |  | 13.2 | Sheet metal drain pan cotton sticking assembly | 1 | 91043695
|  |  |  | 13.3 | Connecting plate | 2 | 91043703
|  |  |  | 13.4 | Plastic drain pan cotton sticking assembly | 1 | 91043694
|  |  |  | 13.5 | Refrigerant leak detection sensor | 1 | 91095157
|  |  | 14 |  | Brass binding post | 1 | 91043061
|  |  | 15 |  | PCB | 1 | 91065004
|  |  | 16 |  | Electric control mounting plate | 1 | 91043708
|  |  | 17 |  | Transformer | 1 | 91041237
|  |  | 18 |  | Piping cover cotton sticking assembly | 1 | 91043705
|  |  | 19 |  | Drain pan fixing block | 1 | 91043711
|  |  | 20 |  | Support bar | 2 | 91043709
|  |  | 21 |  | Circuit breaker sealing plate | 1 | 91043707 | The21.1、21.2、21.3、21.4、21.5 marked in red are supporting materials and need to be charged separately. You need to purchase the21.1、21.2、21.3、21.4、21.5 together with the circuit breaker sealing plate.
|  |  |  | 21.1 | Electric control box cover plate thermal insulation cotton | 1 | 91043386
|  |  |  | 21.2 | Aluminum nail | 4 | 91046954
|  |  |  | 21.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 21.4 | Aluminum foil | 4 | 91050517
|  |  |  | 21.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 22 |  | Circuit breaker sealing plate | 1 | 91044424
|  |  | 23 |  | Upper side plate cotton sticking assembly | 1 | 91043706 | The23.1、23.2、23.3、23.4、23.5marked in red are supporting materials and need to be charged separately. You need to purchase the23.1、23.2、23.3、23.4、23.5 together with the upper side plate cotton sticking assembl.
|  |  |  | 23.1 | Upper side plate thermal insulation foam | 1 | 91043387
|  |  |  | 23.2 | Aluminum nail | 4 | 91046954
|  |  |  | 23.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 23.4 | Aluminum foil | 4 | 91050517
|  |  |  | 23.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 24 |  | Lower side plate cotton sticking assembly | 1 | 91043704 | The24.1、24.2、24.3、24.4、24.5 marked in red are supporting materials and need to be charged separately. You need to purchase the24.1、24.2、24.3、24.4、 24.5 together with the lower side plate cotton sticking assembly.
|  |  |  | 24.1 | Lower side panel thermal insulation foam | 1 | 91043388
|  |  |  | 24.2 | Aluminum nail | 4 | 91046954
|  |  |  | 24.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 24.4 | Aluminum foil | 4 | 91050517
|  |  |  | 24.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 25 |  | Filter cover | 1 | 91043710
13
13.1
13.3
13.2
13.4
13.5

## AHU 30k
Exploded View
| Product: | 15 SEER Air Handler
| Model: | BAH30B15S2T5
| Power Supply: | 208/230V/1PH/60Hz
|  |  | No. |  | Part Name | Quantity | BOM Code | Remark
|  |  | 1 |  | Base pan cotton sticking assembly | 1 | 91043684 | The1.1、1.2、1.3 marked in red are supporting materials and need to be charged separately. You need to purchase the 1.1、1.2、1.3 together with the base pan cotton sticking assembly.
|  |  |  | 1.1 | Chassis side plate thermal insulation cotton | 2 | 91043385
|  |  |  | 1.2 | Chassis floor thermal insulation cotton | 1 | 91043384
|  |  |  | 1.3 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 2 |  | Drain pan support plate cotton sticking assembly | 4 | 91043685
|  |  | 3 |  | Wind wheel fixing plate | 1 | 91058442
|  |  | 4 |  | Left side plate of air duct | 1 | 91043688
|  |  | 5 |  | Right side plate of air duct | 1 | 91043689
|  |  | 6 |  | Electric heater sealing plate | 2 | 91043691
|  |  | 7 |  | Front side panel of air duct | 1 | 91043687
|  |  | 8 |  | Wind wheel mounting block | 2 | 91043690
|  |  | 9 |  | Motor fixing beam assembly | 3 | 91043693
|  |  | 10 |  | Motor clamp | 1 | 91043692
|  |  | 11 |  | Fan motor | 1 | 91044855
|  |  | 12 |  | Wind wheel volute | 1 | 91038107
|  |  | 13 |  | Evaporator preinstalled assembly (with drain pan) | 1 | 91078940
|  |  |  | 13.1 | Evaporator prewelding assembly (without drain pan) | 1 | 91078948
|  |  |  | 13.2 | Sheet metal drain pan cotton sticking assembly | 1 | 91043695
|  |  |  | 13.3 | Connecting plate | 2 | 91043703
|  |  |  | 13.4 | Plastic drain pan cotton sticking assembly | 1 | 91043694
|  |  |  | 13.5 | Refrigerant leak detection sensor | 1 | 91095157
|  |  | 14 |  | Brass terminal | 1 | 91043061
|  |  | 15 |  | PCB | 1 | 91065004
|  |  | 16 |  | Electric control mounting plate | 1 | 91043708
|  |  | 17 |  | Transformer | 1 | 91041237
|  |  | 18 |  | Piping cover cotton sticking assembly | 1 | 91043705
|  |  | 19 |  | Drain pan fixing block | 1 | 91043711
|  |  | 20 |  | Support bar | 2 | 91043709
|  |  | 21 |  | Circuit breaker sealing plate | 1 | 91043707 | The21.1、21.2、21.3、21.4、21.5 marked in red are supporting materials and need to be charged separately. You need to purchase the21.1、21.2、21.3、21.4、21.5 together with the circuit breaker sealing plate.
|  |  |  | 21.1 | Electric control box cover plate thermal insulation cotton | 1 | 91043386
|  |  |  | 21.2 | Aluminum nail | 4 | 91046954
|  |  |  | 21.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 21.4 | Aluminum foil | 4 | 91050517
|  |  |  | 21.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 22 |  | Circuit breaker sealing plate | 1 | 91044424
|  |  | 23 |  | Upper side plate cotton sticking assembly | 1 | 91043706 | The23.1、23.2、23.3、23.4、23.5marked in red are supporting materials and need to be charged separately. You need to purchase the23.1、23.2、23.3、23.4、23.5 together with the upper side plate cotton sticking assembl.
|  |  |  | 23.1 | Upper side plate thermal insulation foam | 1 | 91043387
|  |  |  | 23.2 | Aluminum nail | 4 | 91046954
|  |  |  | 23.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 23.4 | Aluminum foil | 4 | 91050517
|  |  |  | 23.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 24 |  | Lower side plate cotton sticking assembly | 1 | 91043704 | The24.1、24.2、24.3、24.4、24.5 marked in red are supporting materials and need to be charged separately. You need to purchase the24.1、24.2、24.3、24.4、 24.5 together with the lower side plate cotton sticking assembly.
|  |  |  | 24.1 | Lower side panel thermal insulation foam | 1 | 91043388
|  |  |  | 24.2 | Aluminum nail | 4 | 91046954
|  |  |  | 24.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 24.4 | Aluminum foil | 4 | 91050517
|  |  |  | 24.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 25 |  | Filter cover | 1 | 91043710
13
13.1
13.3
13.2
13.4
13.5

## AHU 36k
Exploded View
| Product: | 15 SEER Air Handler
| Model: | BAH36B15S2T5
| Power Supply: | 208/230V/1PH/60Hz
|  |  | No. |  | Part Name | Quantity | BOM Code | Remark
|  |  | 1 |  | Base pan cotton sticking assembly | 1 | 91043684 | The1.1、1.2、1.3 marked in red are supporting materials and need to be charged separately. You need to purchase the 1.1、1.2、1.3 together with the base pan cotton sticking assembly.
|  |  |  | 1.1 | Chassis side plate thermal insulation cotton | 2 | 91043385
|  |  |  | 1.2 | Chassis floor thermal insulation cotton | 1 | 91043384
|  |  |  | 1.3 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 2 |  | Drain pan support plate cotton sticking assembly | 4 | 91043685
|  |  | 3 |  | Wind wheel fixing plate | 1 | 91058442
|  |  | 4 |  | Left side plate of air duct | 1 | 91043688
|  |  | 5 |  | Right side plate of air duct | 1 | 91043689
|  |  | 6 |  | Electric heater sealing plate | 2 | 91043691
|  |  | 7 |  | Front side panel of air duct | 1 | 91043687
|  |  | 8 |  | Wind wheel mounting block | 2 | 91043690
|  |  | 9 |  | Motor fixing beam assembly | 3 | 91043693
|  |  | 10 |  | Motor clamp | 1 | 91043692
|  |  | 11 |  | Fan motor | 1 | 91044855
|  |  | 12 |  | Wind wheel volute | 1 | 91038107
|  |  | 13 |  | Evaporator preinstalled assembly (with drain pan) | 1 | 91078941
|  |  |  | 13.1 | Evaporator prewelding assembly (without drain pan) | 1 | 91078949
|  |  |  | 13.2 | Sheet metal drain pan cotton sticking assembly | 1 | 91043695
|  |  |  | 13.3 | Connecting plate | 2 | 91043703
|  |  |  | 13.4 | Plastic drain pan cotton sticking assembly | 1 | 91043694
|  |  |  | 13.5 | Refrigerant leak detection sensor | 1 | 91095157
|  |  | 14 |  | Brass binding post | 1 | 91043061
|  |  | 15 |  | PCB | 1 | 91065004
|  |  | 16 |  | Electric control mounting plate | 1 | 91043708
|  |  | 17 |  | Transformer | 1 | 91041237
|  |  | 18 |  | Piping cover cotton sticking assembly | 1 | 91043705
|  |  | 19 |  | Drain pan fixing block | 1 | 91043711
|  |  | 20 |  | Support bar | 2 | 91043709
|  |  | 21 |  | Circuit breaker sealing plate | 1 | 91043707 | The21.1、21.2、21.3、21.4、21.5 marked in red are supporting materials and need to be charged separately. You need to purchase the21.1、21.2、21.3、21.4、21.5 together with the circuit breaker sealing plate.
|  |  |  | 21.1 | Electric control box cover plate thermal insulation cotton | 1 | 91043386
|  |  |  | 21.2 | Aluminum nail | 4 | 91046954
|  |  |  | 21.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 21.4 | Aluminum foil | 4 | 91050517
|  |  |  | 21.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 22 |  | Circuit breaker sealing plate | 1 | 91044424
|  |  | 23 |  | Upper side plate cotton sticking assembly | 1 | 91043706 | The23.1、23.2、23.3、23.4、23.5marked in red are supporting materials and need to be charged separately. You need to purchase the23.1、23.2、23.3、23.4、23.5 together with the upper side plate cotton sticking assembl.
|  |  |  | 23.1 | Upper side plate thermal insulation foam | 1 | 91043387
|  |  |  | 23.2 | Aluminum nail | 4 | 91046954
|  |  |  | 23.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 23.4 | Aluminum foil | 4 | 91050517
|  |  |  | 23.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 24 |  | Lower side plate cotton sticking assembly | 1 | 91043704 | The24.1、24.2、24.3、24.4、24.5 marked in red are supporting materials and need to be charged separately. You need to purchase the24.1、24.2、24.3、24.4、 24.5 together with the lower side plate cotton sticking assembly.
|  |  |  | 24.1 | Lower side panel thermal insulation foam | 1 | 91043388
|  |  |  | 24.2 | Aluminum nail | 4 | 91046954
|  |  |  | 24.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 24.4 | Aluminum foil | 4 | 91050517
|  |  |  | 24.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 25 |  | Filter cover | 1 | 91043710
13
13.1
13.3
13.2
13.4
13.5

## AHU 42k
Exploded View
| Product: | 15 SEER Air Handler
| Model: | BAH42B15S2T5
| Power Supply: | 208/230V/1PH/60Hz
|  |  | No. |  | Part Name | Quantity | BOM Code | Remark
|  |  | 1 |  | Base pan cotton sticking assembly | 1 | 91043684 | The1.1、1.2、1.3 marked in red are supporting materials and need to be charged separately. You need to purchase the 1.1、1.2、1.3 together with the base pan cotton sticking assembly.
|  |  |  | 1.1 | Chassis side plate thermal insulation cotton | 2 | 91043385
|  |  |  | 1.2 | Chassis floor thermal insulation cotton | 1 | 91043384
|  |  |  | 1.3 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 2 |  | Drain pan support plate cotton sticking assembly | 4 | 91043685
|  |  | 3 |  | Wind wheel fixing plate | 1 | 91058442
|  |  | 4 |  | Left side plate of air duct | 1 | 91043688
|  |  | 5 |  | Right side plate of air duct | 1 | 91043689
|  |  | 6 |  | Electric heater sealing plate | 2 | 91043691
|  |  | 7 |  | Front side panel of air duct | 1 | 91043687
|  |  | 8 |  | Wind wheel mounting block | 2 | 91043690
|  |  | 9 |  | Motor fixing beam assembly | 3 | 91043693
|  |  | 10 |  | Motor clamp | 1 | 91043692
|  |  | 11 |  | Fan motor | 1 | 91044857
|  |  | 12 |  | Wind wheel volute | 1 | 91038107
|  |  | 13 |  | Evaporator preinstalled assembly (with drain pan) | 1 | 91078942
|  |  |  | 13.1 | Evaporator prewelding assembly (without drain pan) | 1 | 91078950
|  |  |  | 13.2 | Sheet metal drain pan cotton sticking assembly | 1 | 91043695
|  |  |  | 13.3 | Connecting plate | 2 | 91043703
|  |  |  | 13.4 | Plastic drain pan cotton sticking assembly | 1 | 91043694
|  |  |  | 13.5 | Refrigerant leak detection sensor | 1 | 91078798
|  |  | 14 |  | Brass binding post | 1 | 91043061
|  |  | 15 |  | PCB | 1 | 91065004
|  |  | 16 |  | Electric control mounting plate | 1 | 91043708
|  |  | 17 |  | Transformer | 1 | 91041237
|  |  | 18 |  | Piping cover cotton sticking assembly | 1 | 91043705
|  |  | 19 |  | Drain pan fixing block | 1 | 91043711
|  |  | 20 |  | Support bar | 2 | 91043709
|  |  | 21 |  | Circuit breaker sealing plate | 1 | 91043707 | The21.1、21.2、21.3、21.4、21.5 marked in red are supporting materials and need to be charged separately. You need to purchase the21.1、21.2、21.3、21.4、21.5 together with the circuit breaker sealing plate.
|  |  |  | 21.1 | Electric control box cover plate thermal insulation cotton | 1 | 91043386
|  |  |  | 21.2 | Aluminum nail | 4 | 91046954
|  |  |  | 21.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 21.4 | Aluminum foil | 4 | 91050517
|  |  |  | 21.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 22 |  | Circuit breaker sealing plate | 1 | 91044424
|  |  | 23 |  | Upper side plate cotton sticking assembly | 1 | 91043706 | The23.1、23.2、23.3、23.4、23.5marked in red are supporting materials and need to be charged separately. You need to purchase the23.1、23.2、23.3、23.4、23.5 together with the upper side plate cotton sticking assembl.
|  |  |  | 23.1 | Upper side plate thermal insulation foam | 1 | 91043387
|  |  |  | 23.2 | Aluminum nail | 4 | 91046954
|  |  |  | 23.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 23.4 | Aluminum foil | 4 | 91050517
|  |  |  | 23.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 24 |  | Lower side plate cotton sticking assembly | 1 | 91043704 | The24.1、24.2、24.3、24.4、24.5 marked in red are supporting materials and need to be charged separately. You need to purchase the24.1、24.2、24.3、24.4、 24.5 together with the lower side plate cotton sticking assembly.
|  |  |  | 24.1 | Lower side panel thermal insulation foam | 1 | 91043388
|  |  |  | 24.2 | Aluminum nail | 4 | 91046954
|  |  |  | 24.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 24.4 | Aluminum foil | 4 | 91050517
|  |  |  | 24.5 | Fiber cotton glue | 0.17kg | 91039758
|  |  | 25 |  | Filter cover | 1 | 91043710
13
13.1
13.3
13.2
13.4
13.5

## AHU 48k
Exploded View
| Product: | 15 SEER Air Handler
| Model: | BAH48B15S2T5
| Power Supply: | 208/230V/1PH/60Hz
|  |  | No. |  | Part Name | Quantity | BOM Code | Remark
|  |  | 1 |  | Base pan cotton sticking assembly | 1 | 91047285 | The1.1、1.2、1.3 marked in red are supporting materials and need to be charged separately. You need to purchase the 1.1、1.2、1.3 together with the base pan cotton sticking assembly.
|  |  |  | 1.1 | Chassis side plate thermal insulation cotton | 2 | 91043390
|  |  |  | 1.2 | Chassis floor thermal insulation cotton | 1 | 91043389
|  |  |  | 1.3 | Fiber cotton glue | 0.22kg | 91039758
|  |  | 2 |  | Drain pan support plate cotton sticking assembly | 4 | 91047286
|  |  | 3 |  | Wind wheel fixing plate | 1 | 91056203
|  |  | 4 |  | Left side plate of air duct | 1 | 91047289
|  |  | 5 |  | Right side plate of air duct | 1 | 91047290
|  |  | 6 |  | Electric heater sealing plate | 2 | 91043691
|  |  | 7 |  | Front side panel of air duct | 1 | 91047288
|  |  | 8 |  | Wind wheel mounting block | 2 | 91043690
|  |  | 9 |  | Motor fixing beam assembly | 3 | 91043693
|  |  | 10 |  | Motor clamp | 1 | 91043692
|  |  | 11 |  | Fan motor | 1 | 91044857
|  |  | 12 |  | Wind wheel volute | 1 | 91038107
|  |  | 13 |  | Evaporator preinstalled assembly (with drain pan) | 1 | 91078057
|  |  |  | 13.1 | Evaporator prewelding assembly (without drain pan) | 1 | 91095221
|  |  |  | 13.2 | Sheet metal drain pan cotton sticking assembly | 1 | 91047295
|  |  |  | 13.3 | Connecting plate | 2 | 91043703
|  |  |  | 13.4 | Plastic drain pan cotton sticking assembly | 1 | 91044422
|  |  |  | 13.5 | Refrigerant leak detection sensor | 1 | 91078798
|  |  | 14 |  | Brass terminal | 1 | 91043061
|  |  | 15 |  | PCB | 1 | 91065004
|  |  | 16 |  | Electric control mounting plate | 1 | 91043708
|  |  | 17 |  | Transformer | 1 | 91041237
|  |  | 18 |  | Piping cover cotton sticking assembly | 1 | 91043705
|  |  | 19 |  | Drain pan fixing block | 1 | 91043711
|  |  | 20 |  | Support bar | 2 | 91047299
|  |  | 21 |  | Circuit breaker sealing plate | 1 | 91047298 | The21.1、21.2、21.3、21.4、21.5 marked in red are supporting materials and need to be charged separately. You need to purchase the21.1、21.2、21.3、21.4、21.5 together with the circuit breaker sealing plate.
|  |  |  | 21.1 | Electric control box cover plate thermal insulation cotton | 1 | 91043391
|  |  |  | 21.2 | Aluminum nail | 4 | 91046954
|  |  |  | 21.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 21.4 | Aluminum foil | 4 | 91050517
|  |  |  | 21.5 | Fiber cotton glue | 0.22kg | 91039758
|  |  | 22 |  | Circuit breaker sealing plate | 1 | 91044424
|  |  | 23 |  | Upper side plate cotton sticking assembly | 1 | 91047297 | The23.1、23.2、23.3、23.4、23.5marked in red are supporting materials and need to be charged separately. You need to purchase the23.1、23.2、23.3、23.4、23.5 together with the upper side plate cotton sticking assembl.
|  |  |  | 23.1 | Upper side plate thermal insulation foam | 1 | 91043392
|  |  |  | 23.2 | Aluminum nail | 4 | 91046954
|  |  |  | 23.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 23.4 | Aluminum foil | 4 | 91050517
|  |  |  | 23.5 | Fiber cotton glue | 0.22kg | 91039758
|  |  | 24 |  | Lower side plate cotton sticking assembly | 1 | 91047296 | The24.1、24.2、24.3、24.4、24.5 marked in red are supporting materials and need to be charged separately. You need to purchase the24.1、24.2、24.3、24.4、 24.5 together with the lower side plate cotton sticking assembly.
|  |  |  | 24.1 | Lower side panel thermal insulation foam | 1 | 91043393
|  |  |  | 24.2 | Aluminum nail | 4 | 91046954
|  |  |  | 24.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 24.4 | Aluminum foil | 4 | 91050517
|  |  |  | 24.5 | Fiber cotton glue | 0.22kg | 91039758
|  |  | 25 |  | Filter cover | 1 | 91047300
13
13.1
13.3
13.2
13.4
13.5

## AHU 60k
Exploded View
| Product: | 15 SEER Air Handler
| Model: | BAH60B15S2T5
| Power Supply: | 208/230V/1PH/60Hz
|  |  | No. |  | Part Name | Quantity | BOM Code | Remark
|  |  | 1 |  | Base pan cotton sticking assembly | 1 | 91047285 | The1.1、1.2、1.3 marked in red are supporting materials and need to be charged separately. You need to purchase the 1.1、1.2、1.3 together with the base pan cotton sticking assembly.
|  |  |  | 1.1 | Chassis side plate thermal insulation cotton | 2 | 91043390
|  |  |  | 1.2 | Chassis floor thermal insulation cotton | 1 | 91043389
|  |  |  | 1.3 | Fiber cotton glue | 0.22kg | 91039758
|  |  | 2 |  | Drain pan support plate cotton sticking assembly | 4 | 91047286
|  |  | 3 |  | Wind wheel fixing plate | 1 | 91056203
|  |  | 4 |  | Left side plate of air duct | 1 | 91047289
|  |  | 5 |  | Right side plate of air duct | 1 | 91047290
|  |  | 6 |  | Electric heater sealing plate | 2 | 91043691
|  |  | 7 |  | Front side panel of air duct | 1 | 91047288
|  |  | 8 |  | Wind wheel mounting block | 2 | 91043690
|  |  | 9 |  | Motor fixing beam assembly | 3 | 91043693
|  |  | 10 |  | Motor clamp | 1 | 91043692
|  |  | 11 |  | Fan motor | 1 | 91044857
|  |  | 12 |  | Wind wheel volute | 1 | 91038107
|  |  | 13 |  | Evaporator preinstalled assembly (with drain pan) | 1 | 91078943
|  |  |  | 13.1 | Evaporator prewelding assembly (without drain pan) | 1 | 91078951
|  |  |  | 13.2 | Sheet metal drain pan cotton sticking assembly | 1 | 91047295
|  |  |  | 13.3 | Connecting plate | 2 | 91043703
|  |  |  | 13.4 | Plastic drain pan cotton sticking assembly | 1 | 91044422
|  |  |  | 13.5 | Refrigerant leak detection sensor | 1 | 91078798
|  |  | 14 |  | Brass terminal | 1 | 91043061
|  |  | 15 |  | PCB | 1 | 91065004
|  |  | 16 |  | Electric control mounting plate | 1 | 91043708
|  |  | 17 |  | Transformer | 1 | 91041237
|  |  | 18 |  | Piping cover cotton sticking assembly | 1 | 91043705
|  |  | 19 |  | Drain pan fixing block | 1 | 91043711
|  |  | 20 |  | Support bar | 2 | 91047299
|  |  | 21 |  | Circuit breaker sealing plate | 1 | 91047298 | The21.1、21.2、21.3、21.4、21.5 marked in red are supporting materials and need to be charged separately. You need to purchase the21.1、21.2、21.3、21.4、21.5 together with the circuit breaker sealing plate.
|  |  |  | 21.1 | Electric control box cover plate thermal insulation cotton | 1 | 91043391
|  |  |  | 21.2 | Aluminum nail | 4 | 91046954
|  |  |  | 21.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 21.4 | Aluminum foil | 4 | 91050517
|  |  |  | 21.5 | Fiber cotton glue | 0.22kg | 91039758
|  |  | 22 |  | Circuit breaker sealing plate | 1 | 91044424
|  |  | 23 |  | Upper side plate cotton sticking assembly | 1 | 91047297 | The23.1、23.2、23.3、23.4、23.5marked in red are supporting materials and need to be charged separately. You need to purchase the23.1、23.2、23.3、23.4、23.5 together with the upper side plate cotton sticking assembl.
|  |  |  | 23.1 | Upper side plate thermal insulation foam | 1 | 91043392
|  |  |  | 23.2 | Aluminum nail | 4 | 91046954
|  |  |  | 23.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 23.4 | Aluminum foil | 4 | 91050517
|  |  |  | 23.5 | Fiber cotton glue | 0.22kg | 91039758
|  |  | 24 |  | Lower side plate cotton sticking assembly | 1 | 91047296 | The24.1、24.2、24.3、24.4、24.5 marked in red are supporting materials and need to be charged separately. You need to purchase the24.1、24.2、24.3、24.4、 24.5 together with the lower side plate cotton sticking assembly.
|  |  |  | 24.1 | Lower side panel thermal insulation foam | 1 | 91043393
|  |  |  | 24.2 | Aluminum nail | 4 | 91046954
|  |  |  | 24.3 | Aluminium nail cap | 4 | 91046955
|  |  |  | 24.4 | Aluminum foil | 4 | 91050517
|  |  |  | 24.5 | Fiber cotton glue | 0.22kg | 91039758
|  |  | 25 |  | Filter cover | 1 | 91047300
13
13.1
13.3
13.2
13.4
13.5